utilities connections - authorisation

| UNIVERSITY OF TECHNOLOGY SYDNEY |  |  |  |
| --- | --- | --- | --- |
| project name: |  | Project No.: |  |

For use for internal and external utility connections (Electricity, Natural Gas, Water, Thermal Energy)

Contractor to complete relevant sections and submit to the UTS Project Manager a minimum of 3 days before the planned inspection. The Project Manager will forward the form to the Sustainability team.

Terms and Conditions:

- The Contractor must arrange for a UTS Representative to meet on site for a joint inspection. This must be prior to, or at the time of connection.

- Applications must be approved by the Sustainability Engineer (PMO) before connection is made.

- Contractors will bear the cost of the installation of approved sub-meters.

- Contractors must allow access for the purpose of meter reading.

- The Contractor accepts the charging rates as outlined in this document where connection is made from UTS’s own distribution and the project contract value is over $2M.

- On disconnection, the Contractor shall make good all connection points.

- Unauthorised hard-wired connections to UTS supplies, whether metered or not, are liable for disconnection without notice.

- The signing and authorising any utility company form or document for connection, variation, disconnection is done by UTS staff only.  These forms and documents form a contract of agreement on behalf of UTS, and only UTS staff are authorised to commit to expenditure or a contract with a utility on behalf of UTS.

Charging Rates (2015 - 2017) UTS Distribution:

Levied on projects of contract value over $2M.

| Electricity | Peak | 16c/kWh | Water | 3.20/c/kL | Natural Gas | $14/GJ |
| --- | --- | --- | --- | --- | --- | --- |
|  | Shoulder | 16c/kWh |  |  |  |  |
|  | Off Peak | 8c/kWh |  |  |  |  |
|  | Flat | 14c/kWh |  |  |  |  |

Contractor Details

| Contractors Name: |  |
| --- | --- |
| Contractors Licence Number: |  |
| Representatives Name: |  |
| Mobile Number: |  |
| Email Address: |  |

Works Details

| Project Manager: |  |
| --- | --- |
| Building Number: |  |
| Level/s & Room Number/s: |  |

Proposed Works

| Electricity |  |
| --- | --- |
| Connection Type: Temporary / Permanent / Variation / Disconnection |  |
| Location & Details (including DB or MSB, breaker details etc) |  |
| Max Load kW: |  |
| Type of Metering: State ToU or Flat |  |
| Electricians Name: |  |
| Electrician Licence Number: |  |
| Electrician Mobile Number: |  |
| Electrician Email: |  |
| Water |  |
| Connection Type: Temporary / Permanent / Variation / Disconnection |  |
| Location & Details: |  |
| Water meter details: (Pulse Type / Pulse Rate) |  |
| Plumber Name: |  |
| Plumber Licence Number: |  |
| Plumber Mobile Number: |  |
| Plumber Email: |  |
| Natural Gas |  |
| Connection Type: Permanent / Variation / Disconnection |  |
| Location & Details |  |
| Gas meter details: |  |
| Plumber Name: |  |
| Plumber Licence Number: |  |
| Plumber Mobile Number: |  |
| Plumber Email: |  |

Inspection Details:

| Date, Time, Place: |  |
| --- | --- |

Contractors Acceptance of Terms and Conditions

| Contractors Representatives Signature: |  |
| --- | --- |

Authorisation

| UTS Building / Project Manager (Endorsed): |  | Date: |
| --- | --- | --- |
| UTS Sustainability Manager (Approved): |  | Date: |