Electrical equipment risk assessment and inspection record 			 [Faculty / Unit Name]

High Risk (H) equipment - require annual testing, visual inspection and tagging
High risk items are those that are used in a “hostile operating environment”. That means an operating environment where, under normal use, the operating conditions are likely to cause damage to the equipment. This includes an operating environment that may cause:

- mechanical damage to the equipment or

- expose the equipment to moisture, heat, vibration, corrosive substances or dust.

e.g. extension leads, power boards, 240v power-packs, portable lighting

Low Risk (L) equipment - not requiring testing or tagging
Low risk items are those not used in a “hostile operating environment”.

e.g. printers, fax machines, photocopiers, refrigerators, personal computers

Risk assessment done by (Names and Signatures) _____________________________________________________              Date of Assessment:  ___ / ___ / ___

Inspection and Testing Schedule of Plug-in Electrical Equipment

| Equipment Description / Asset No. | Risk Rating (H/L) | Item Location | 2016 |  |  | 2017 |  |  | 2018 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Pass / fail | Tester Name | Inspect. Date | Pass / fail | Tester Name | Inspect. Date | Pass/ fail | Tester Name | Inspect. Date |